| Location on Horizontal Curve | Station | Notes |
| --- | --- | --- |
| PT | 1+30.12 | Sheet C-304 |
| PC | 1+36.83 | Sheed C-304 |
| PT | 3+92.45 | Sheet C-304 |
| PC | 6+74.38 | Sheet C-305 |
| PT | 7+08.15 | Sheet C-305 |
| Horizontal Bend | 10+77.09 | Will update in conformed drawing package. Sheet C-307 |
| PC | 11+17.78 | Sheet C-306 |
| PT | 11+60.17 | Sheet C-306 |

We anticipate 8 Pipe Angle Markers along the water mainlines. These will indicate angle and date of placement. C-307 will be modified to eliminate the horizontal curve and replace with a standard pipe bend fitting.